# Tailgate Safety Meeting #17

# Fire Prevention & Fire Extinguisher Use (OSHA Compliant)

Duration: 10 minutes

Audience: All field crew and subcontractors

Objective: To increase awareness of fire hazards on construction sites and teach proper use of fire extinguishers.

## Script to Read Aloud (5–7 minutes)

Foreman Reads:

Good morning team. Today we’re talking about fire prevention and how to properly use fire extinguishers on the job site.

Fires on construction sites are often caused by hot work like welding, open flames, faulty wiring, temporary heaters, or improper storage of flammable materials.

Here are key fire prevention practices:
- Keep combustible materials away from heat sources
- Store flammable liquids in approved containers and cabinets
- Never block access to fire extinguishers or fire exits
- Use spark shields and fire blankets when welding or grinding
- Maintain clean, organized work areas to prevent buildup of combustible debris

Now let’s talk about fire extinguishers. You must know where they are located and how to use them. Use the PASS method:
- **P** – Pull the pin
- **A** – Aim the nozzle at the base of the fire
- **S** – Squeeze the handle
- **S** – Sweep from side to side

👉 DEMO SUGGESTION: Physically show a fire extinguisher and walk through the PASS method. Ensure everyone knows the extinguisher locations on site.

## Main Bullet Points (for Foreman)

Know the common fire hazards on construction sites.

Keep work areas free of trash, oily rags, and combustible scrap.

Properly store flammable liquids and gases.

Never block fire extinguisher access or fire exits.

Review and demonstrate the PASS method for extinguisher use.

Inspect extinguishers monthly and after each use.

Ensure fire extinguishers are appropriate for the work being done (ABC type recommended for general use).

## Engagement Tip

- Ask: “Who here has used a fire extinguisher in real life?”
- Identify extinguisher locations around the job site.
- Reinforce: ‘Fire prevention starts with clean, safe habits.’