# Tailgate Safety Meeting #53

# Tower Crane Visibility and Blind Lift Coordination (OSHA Compliant)

Duration: 10–15 minutes

Audience: Crane operators, riggers, signal persons, foremen, and high-rise workers

Objective: Promote safe blind lift procedures and minimize risk through clear communication, visual aids, and coordinated teamwork.

## Script to Read Aloud (7–10 minutes)

Foreman Reads:

Tower cranes are essential to high-rise and urban construction—but they come with serious visibility limitations. When a crane operator cannot see the load, it’s called a ‘blind lift.’ These situations are common in tower crane operations and demand strict safety controls.

Major Hazards:
- Operator has zero line-of-sight to the load or workers below.
- Poor or confusing radio communication between signal person and operator.
- Unclear lift paths—load swings over active work zones.
- Wind and weather affecting precision.

Safe Practices for Blind Lifts:
- Only use qualified signal persons trained in standard signals and blind lift protocols.
- Maintain continuous communication—if radio cuts out, STOP the lift.
- Pre-plan every blind lift with the operator, signaler, and rigging crew.
- Use tag lines to control load orientation below.
- Never lift over occupied areas—clear the zone below.
- Use cameras or visibility aids if available.
- If vision is impaired by fog, darkness, or glare—delay the lift.
- Ensure rigging is properly rated, inspected, and secured.

👉 DEMO SUGGESTION: Practice a simulated blind lift scenario. Assign someone to act as the signal person and demonstrate proper hand or radio signaling.

## Main Bullet Points (for Foreman)

Blind lifts are high-risk — plan them thoroughly.

Only trained signal persons should direct blind lifts.

Use clear, consistent communication — STOP if it fails.

Tag lines must be used and controlled from below.

Never lift over occupied areas without clearance.

Environmental conditions (fog, glare, wind) matter.

Inspect all rigging before and after blind lifts.

Camera systems can help but do not replace signalers.

## Engagement Tip

- Ask: “Have you ever been under or near a blind lift? How was it handled?”
- Optional: Run a radio communication roleplay between operator and signal person.