# Tailgate Safety Meeting #55

# High-Rise Electrical Tie-In Procedures and Lockout/Tagout at Elevation (OSHA Compliant)

Duration: 10–15 minutes

Audience: Electricians, foremen, engineers, and high-rise construction workers

Objective: Prevent arc flash, shock, or electrical-related injuries by enforcing safe tie-in and LOTO (Lockout/Tagout) practices in elevated environments.

## Script to Read Aloud (7–10 minutes)

Foreman Reads:

Working on electrical systems in high-rise buildings comes with additional dangers — limited access, long vertical feeds, high-voltage conduits, and exposed busways. Improper tie-in procedures or failure to follow Lockout/Tagout (LOTO) protocols at elevation can result in severe injuries or fatalities.

Key Hazards:
- Working on live panels or circuits without proper shutdown
- Lack of lockout devices or poor LOTO compliance
- Arc flash potential due to elevated voltage and current loads
- Congested panels or temporary systems not clearly labeled
- Miscommunication between floors or trades

Best Practices:
- Use full Lockout/Tagout procedures every time — including tags, locks, and verifying energy discharge.
- Never work live unless absolutely necessary and authorized.
- Communicate shutdowns and tagouts across all affected floors.
- Wear arc-rated PPE, face shields, insulated gloves, and fire-resistant clothing when required.
- Use a buddy system when working at height on electrical systems.
- Confirm grounding of circuits and use appropriate voltage testers.
- Post warning signage on locked-out systems.
- Make sure power feeds to temp lighting or hoists are shut down during maintenance.

👉 DEMO SUGGESTION: Bring out a real LOTO kit. Show how to lock a breaker, apply a tag, and verify zero energy before starting work.

## Main Bullet Points (for Foreman)

Always use Lockout/Tagout when working on high-rise electrical systems.

Never assume a panel is de-energized — test it!

Communicate shutdowns to all trades and levels.

Arc flash PPE is required in many high-voltage tie-ins.

Lock, tag, and verify before touching any conductor.

Use a second worker when performing live work at height.

Document all LOTO steps in a daily log if required by site policy.

No shortcuts — lives depend on electrical safety.

## Engagement Tip

- Ask: “What’s the difference between lockout and tagout — and when do we use both?”
- Optional: Let each crew member demonstrate tagging a breaker on a portable panel.