# Tailgate Safety Meeting #56

# Emergency Evacuation Plans for Multi-Story Construction Sites (OSHA Compliant)

Duration: 10–15 minutes

Audience: All construction site workers, supervisors, safety officers

Objective: Ensure all personnel understand emergency evacuation procedures specific to high-rise or multi-story construction projects.

## Script to Read Aloud (7–10 minutes)

Foreman Reads:

Emergencies on high-rise or multi-story construction sites—like fires, structural collapses, crane failures, gas leaks, or medical incidents—require a fast and coordinated evacuation. These structures pose unique challenges for exiting safely, especially when workers are located on upper floors or using temporary stair towers and hoists.

Evacuation Challenges:
- Long vertical travel time to ground level
- Limited stair access or narrow scaffold stairs
- Power loss disabling hoists or elevators
- Smoke or obstruction on egress paths
- Panic and lack of communication

Best Practices:
- Know all exit routes—including backup stairs and ladders.
- Evacuation plans must be posted and reviewed regularly.
- Designate evacuation wardens or foremen for each level.
- Conduct periodic evacuation drills (every 6 months minimum).
- Never use material hoists or elevators in a fire event.
- Wear fall protection if exiting using exposed platforms.
- Emergency lighting and signage must be visible and working.
- Ensure first aid kits, radios, and AEDs are accessible.
- Account for all workers at a designated muster point.

👉 DEMO SUGGESTION: Walk the crew through a mock evacuation drill. Identify nearest egress paths and gather at the assigned muster point.

## Main Bullet Points (for Foreman)

Post evacuation maps and review them during orientation.

Ensure all floors have marked and accessible exit routes.

Designate evacuation leads or floor wardens.

Practice evacuation drills at least twice per year.

Test radios and backup lighting monthly.

Never use hoists during a fire—use stairs only.

Maintain clear access to exits at all times.

Confirm headcounts at muster stations after evacuation.

## Engagement Tip

- Ask: “If we had an emergency right now, where would you exit? Who would you report to?”
- Optional: Assign each worker to find and identify two separate egress routes from their current level.