# Tailgate Safety Meeting #69

# High-Rise Crane Climbing, Tie-Ins, and Structural Monitoring (OSHA Compliant)

Duration: 10–15 minutes

Audience: Crane crews, structural teams, and high-rise general contractors.

Objective: To ensure awareness and adherence to safety protocols when raising cranes, securing tie-ins, and monitoring structure movement or stress.

## Script to Read Aloud (7–10 minutes)

Foreman Reads:

Tower cranes are one of the most critical—and dangerous—pieces of equipment on a high-rise site. When these cranes are raised or 'climbed,' it requires highly coordinated operations. Likewise, tie-ins must be carefully engineered and installed to prevent excessive movement. Monitoring the building’s structure as it rises helps detect any shifting or stress that could compromise safety.

Key Hazards:
- Crane failure during climbing process due to improper procedure or environmental factors
- Inadequate or failed tie-ins between crane and structure
- Building shifting under wind load or weight of materials
- Lack of communication between crane operator and structural team

Safety Measures:
- Only qualified personnel are permitted to climb a crane or perform tie-in operations.
- Ensure crane climbing plan is submitted, approved, and reviewed by all relevant trades.
- All tie-ins must be inspected before and after installation.
- Wind monitoring is critical—climbing or working near cranes should cease above safe wind speeds (consult manufacturer).
- Monitor building drift and structural stress through engineered monitoring systems or manual inspection routines.
- Communicate clearly—radios, hand signals, and spotters are essential during crane moves or tie-in operations.

👉 DEMO SUGGESTION: Review the crane climbing plan and identify the emergency stop procedure. Show where current tie-ins are located and discuss who inspects them.

## Main Bullet Points (for Foreman)

Only trained and qualified crews may climb or raise cranes.

Review and follow the engineered crane climbing plan.

Check all crane-to-structure tie-ins regularly.

Monitor wind conditions before any crane operations.

Use visual and audio communication with crane teams.

Inspect for structural movement at each elevation gain.

Coordinate closely between structural and crane crews.

## Engagement Tip

- Ask: “What’s the emergency signal if something goes wrong during crane climbing?”
- Optional: Review or walk the crew through recent crane climb documentation.